An Act to Protect Groundwater and Surface Waters from Perfluoroalkyl and Polyfluoroalkyl Substances from Landfill Leachate

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  38 MRSA §413, sub-§13 is enacted to read:

13.  Landfill leachate; reporting.  Notwithstanding section 414-A or any other provision of law to the contrary, a person licensed by the department to discharge wastewater to groundwater or any waters of the State shall maintain a record of and annually report to the department in a manner determined by the department regarding the origin, volume and final disposition of leachate collected from a solid waste landfill delivered to or otherwise accepted by the licensee for treatment or other management.

Sec. 2.  38 MRSA §413, sub-§14 is enacted to read:

14.  Discharge limits for perfluoroalkyl and polyfluoroalkyl substances.  The department shall adopt rules establishing limits on the amount of perfluoroalkyl and polyfluoroalkyl substances in discharged effluent.  Notwithstanding section 414-A or any other provision of law to the contrary, beginning June 1, 2026, a person licensed by the department to discharge wastewater to groundwater or any waters of the State may not discharge any wastewater containing leachate collected from a solid waste landfill unless the effluent discharged satisfies the limits adopted by the department by rule regarding the amount of perfluoroalkyl and polyfluoroalkyl substances in discharged effluent.  Rules adopted by the department pursuant to this subsection are routine technical rules as defined in Title 5, chapter 375, subchapter 2-A.

As used in this subsection, "perfluoroalkyl and polyfluoroalkyl substances" has the same meaning as in section 1614, subsection 1, paragraph F.

Sec. 3.  38 MRSA §1303-C, sub-§19-F is enacted to read:

19-F.  Perfluoroalkyl and polyfluoroalkyl substances.  "Perfluoroalkyl and polyfluoroalkyl substances" or "PFAS" has the same meaning as in section 1614, subsection 1, paragraph F.

Sec. 4.  38 MRSA §1310-N, sub-§10-A is enacted to read:

10-A.  Testing of landfill leachate for perfluoroalkyl and polyfluoroalkyl substances.  Notwithstanding any provision of this chapter to the contrary, a licensed solid waste landfill that has installed a landfill leachate collection system shall ensure, on a quarterly basis, that its leachate is tested by an independent 3rd-party entity for perfluoroalkyl and polyfluoroalkyl substances contamination in a manner directed by the department.  Results from leachate testing conducted pursuant to this subsection must be provided by a solid waste landfill to the department annually at the time the landfill submits its annual report pursuant to subsection 6-D, paragraph B.  The department shall make leachate testing results submitted pursuant to this subsection available on its publicly accessible website in a manner and format that is readable and understandable by the general public.

Sec. 5.  38 MRSA §1310-N, sub-§10-B is enacted to read:

10-B.  Testing of private water supplies for perfluoroalkyl and polyfluoroalkyl substances.  Upon written request to the department from the owner of a property abutting a licensed solid waste landfill, the department shall require the licensee to conduct sampling and analysis for perfluoroalkyl and polyfluoroalkyl substances of a private water supply well used by the owner for drinking water purposes.  For the purposes of this subsection, a property is considered to be abutting a solid waste landfill if the property is contiguous to property on which the landfill is located, including directly across a public or private right-of-way from the landfill, or is located within one mile of property on which the landfill is located.

A. Sampling and analysis for PFAS contamination pursuant to this subsection must be conducted using standard analytical methods for the detectable level of PFAS established by the United States Environmental Protection Agency.

B. The laboratory performing the sampling and analysis shall provide written copies of results to the licensee, the property owner and the department.  The property owner may request and the department may require the licensee to conduct additional sampling and analysis of the owner's private water supply well for PFAS contamination pursuant to this subsection.

SUMMARY

This bill requires a person licensed by the Department of Environmental Protection to discharge wastewater to groundwater or any waters of the State to maintain a record of and annually report to the department, in a manner determined by the department, regarding the origin, volume and final disposition of leachate collected from a solid waste landfill delivered to or otherwise accepted by the licensee for treatment or other management.  It also prohibits, beginning June 1, 2026, such licensed wastewater dischargers from discharging any wastewater containing leachate collected from a solid waste landfill unless the effluent discharged satisfies limits adopted by the department by rule regarding the amount of perfluoroalkyl and polyfluoroalkyl substances in effluent discharges.

The bill requires a licensed solid waste landfill that has installed a landfill leachate collection system to ensure that its leachate is tested on a quarterly basis by an independent 3rd-party entity for perfluoroalkyl and polyfluoroalkyl substances contamination in a manner directed by the department.  The leachate testing results must be made available by the department on its publicly accessible website in a manner and using a format that is readable and understandable by the general public.  The bill also provides that, upon written request to the department from the owner of a property abutting a licensed solid waste landfill, the department must require the landfill licensee to conduct sampling and analysis for perfluoroalkyl and polyfluoroalkyl substances of a private water supply well used by the owner for drinking water.